## Laminated Bus bars
|  |  | Company Name |  |  |  |  | Phone/Fax
|  |  | Address |  | Zip |  |  | City |  |  | State
|  |  | Country |  |  | Project Title
Technical Questionnaire - Laminated Bus bars
Electrical Characteristics |  |  |  | Material
Electrical constraints to consider: |  |  |  | Conductor raw material: Al, Cu, other
Plating (tin, nickel, other…) + thickness
Bushings
Voltage (V) | Nominal Voltage | [5 empty] | Plating type
| Maximum Voltage | [5 empty] | Specification
| Repeated peak Volt. |  |  | Nuts & Studs |  |  | Raw material
Current (A) | Nominal current (rms) | [5 empty] | Tightening torque
| Maximum density in critical section (A/mm²) |  |  | Additional components required: (cables, connectors, capacitors, resistors, circuit breaker?)
Peak current & duration
Transistors: | Thyristor IGBT SiC GaN Other
Operating & max. switching frequency kHz |  |  |  | External insulation
Required finishing of insulation (if any)
Tests
Dielectric test |  | Voltage-Duration
Partial discharge test |  | Inception voltage
|  | Extinction voltage |  | Material Group
|  | pC target |  | Recommended creepage distance (mm)
Specification
Other specific tests
Recommended clearance distance (mm)
Standards & Norms
Temperature & Environmental Conditions
(NFF 16-101/102)
Max bus bar working temperature (°C)
Supporting documents (prototypes/mass production): (FAI, Quality control plan, ISP, RoHS…) |  |  |  | Min/Max ambient T° (°C): |  |  |  |  | Min |  | Max
Allowable temperature rise (°C)
Humidity rate (%)
Marketing & Commercial Information |  |  |  | Diagram temperature vs humidity
Market |  |  |  | Pollution degree
Application |  |  |  | Other environmental constraints: acid, oil, cooling, fluid, other…
Product
Project Name |  |  |  | Provided Documentation
Project description
|  |  |  | Design product (STEP, DWG file…) | [5 empty] | Date:
|  |  |  | Design system (STEP, DWG file…) | [5 empty] | Date:
New Project |  |  |  | Electrical diagram | [5 empty] | Date:
New bus bar Design |  |  |  | Internal specification | [5 empty] | Date:
Projected Project Life Duration
Logistics & Packaging
Identification requirements: stamp, labels, screen printing, etc.
NDA Signed
Quantity & Date |  |  |  | Logistic requirements: manual/contract/specifications
Offer due Date
Prototype Delivery Date |  |  |  | Packaging specification
Number of Proto. to quote
Mass Production Start Date
Complementary Needs (cooling/fuses)
Quantity: project(1) / year(2)
Type of cooling device used: (air, water, heat pipe…)
Quantities to quote
Quantity/Delivery |  |  |  | Do you need fuse protection for your equipment ?
Country of Delivery
Freight & Duty incoterms
Export Control Regulations (Customer and/or Mersen inputs)
Is the product for: Commercial Application Military / Nuclear Application Other (List Below)
What equipment does the bus bar go into? What is the end use of that equipment?
What country will the bus bar be shipped to?
Who is the end customer and where are they located?
Contact data
Electrical/Mechanical Engineer: name/ e-mail/ phone: | [7 empty] | Filled in by: |  |  | Date: dd/mm/yy
Project Manager: name/ e-mail/ phone: | [7 empty] | Comments:
Purchase Manager: name/ e-mail/ phone:
TQ-BUSBARS-007-0815
Yes
No
Other:
UL94
UL508c
Other:
Pressed
Yes
Resin filled
Open
No
No
Yes
Yes
No
Resistance
Capacitance
Impedance
Voltage drop
Inductance
Yes
Yes
Yes
Yes
Soldered
Brazed
Sealed
Other:
CEI
Fire & Smoke
1
2
3
4